# Product & Architecture — NeuroScan 3000

This is a fictional device created for training purposes. Any resemblance to real products is coincidental.

## Overview

NeuroScan 3000 is a neurological imaging system manufactured by MediScanTech Inc. It combines MRI-guided imaging with AI-assisted diagnostics to help clinicians detect neurological conditions such as stroke, tumours, and MS lesions.

The system is hybrid: it has hardware on-premise in the hospital, and a cloud platform operated by MediScanTech that provides AI analysis and software updates. Both parts are essential to its operation.

## Intended use

Clinical setting: radiology departments in hospitals

Primary users: radiologists, biomedical engineers, IT administrators

Regulatory classification: Class II medical device (EU MDR Class IIb, FDA 510(k))

## System components

### On-premise (hospital)

| Component | Description |
| --- | --- |
| Imaging unit | Physical MRI scanner with embedded firmware (proprietary operating system) |
| Acquisition workstation | PC connected to the imaging unit. Runs the scanning software and a local admin console accessible on the hospital network. |
| Local DICOM server | Stores scan images on-site. Connected to the hospital network. |

### Cloud (MediScanTech-operated)

| Component | Description |
| --- | --- |
| AI inference service | Receives anonymised scan images, runs the AI diagnostic model, and returns annotations |
| Cloud storage | Stores anonymised images and AI outputs |
| Update delivery service | Delivers firmware and software updates to on-premise components |
| Manufacturer backend | MediScanTech internal systems: model training, monitoring, remote support |

## How a scan works (data flow)

Patient undergoes scan → imaging unit captures raw data

Acquisition workstation processes the raw data → creates DICOM images

Images stored on the local DICOM server

Anonymised images sent to the cloud AI inference service (encrypted)

Cloud returns AI diagnostic annotations → displayed to radiologist on the workstation

MediScanTech pushes firmware and software updates to the workstation and imaging unit

## Users and roles

| Role | What they do | Where they access from |
| --- | --- | --- |
| Radiologist | Views images and AI annotations, signs diagnostic reports | Hospital workstation |
| Biomedical engineer | Maintains the device, accesses local admin console | Hospital (on-site) |
| Hospital IT admin | Manages network and local server | Hospital network |
| MediScanTech support | Remote access for diagnostics and troubleshooting | Internet |
| MediScanTech engineer | Manages cloud backend and update delivery | MediScanTech datacentre |

## Key security assumptions (read carefully)

The acquisition workstation is connected to the internet — it talks to the cloud AI service and receives updates

The hospital network is shared with other hospital systems (not a dedicated medical-only network)

The local admin console has no multi-factor authentication and is reachable from anywhere on the hospital network

Remote support uses a shared credential — one login used by all MediScanTech support staff (known gap)

Anonymisation of images before cloud upload is done in software and has not been independently audited

The imaging unit firmware is patched approximately every 18 months due to regulatory constraints

## Architecture diagram

Boxes = components, dashed frames = trust zones, arrows = data flows.

## Trust boundaries

| Boundary | Between | Notes |
| --- | --- | --- |
| TB-1 | Imaging unit ↔ Acquisition workstation | Physical/proprietary — assumed trusted within the device |
| TB-2 | Acquisition workstation ↔ Hospital LAN | Shared hospital network — may include non-medical systems |
| TB-3 | Hospital LAN ↔ Local DICOM server | Internal — should be on a dedicated VLAN but often is not |
| TB-4 | Hospital ↔ MediScanTech cloud | Internet — protected by mutual TLS; main external boundary |
| TB-5 | MediScanTech backend ↔ Update service | Internal cloud — must be authenticated and integrity-protected |

## Data flows

| Data | Sensitivity | Path |
| --- | --- | --- |
| Raw DICOM images (with patient data) | High | Imaging unit → Workstation → Local DICOM server |
| Anonymised DICOM images | Medium | Local DICOM server → Cloud AI service → Cloud storage |
| AI diagnostic annotations | Medium | Cloud → Workstation → Local DICOM server |
| Device logs / telemetry | Low–Medium | Workstation → MediScanTech backend |
| Firmware / software updates | High (integrity) | MediScanTech → Workstation + Imaging unit |
| Admin credentials | Critical | Local admin console, remote support |

## Key interfaces

| Interface | Protocol | Authentication | Notes |
| --- | --- | --- | --- |
| Imaging unit → Workstation | Proprietary USB | None (physical) | Assumed trusted |
| Workstation → Local DICOM server | DICOM (TCP 104) | None by default | No built-in auth in most deployments |
| Workstation → Cloud AI service | HTTPS REST | Mutual TLS + API key |  |
| Local admin console | HTTPS (:8443) | Username/password | No MFA |
| Remote support | VPN + SSH | Shared credential | Known security gap |
| Update delivery | HTTPS | Package signing (RSA-2048) + TLS |  |

# Threat Model Worksheet — NeuroScan 3000

Team name: ____________________________     Date: ____________________

Workshop: Medical Device Threat Modeling

Fill this worksheet in as you work through Q1–Q4. Import it into Google Docs (File → Open → Upload), complete it as a group, then export back to .docx or PDF for AI evaluation.

## Q1: What are we working on?

Goal: build a shared map of the system before you look for threats. Agree what's in scope, what's worth protecting, and who could cause harm.

### 1.1 System boundary

In scope — components and interfaces your team will analyze:

_______________________________________________________________

_______________________________________________________________

_______________________________________________________________

Out of scope — what you exclude, and why (e.g. "hospital Wi-Fi — managed by hospital IT, outside MediScanTech's control"):

_______________________________________________________________

_______________________________________________________________

### 1.2 Assets — what are we protecting?

Ask: what would hurt if it was stolen, changed, or made unavailable? Property key: C = Confidentiality, I = Integrity, A = Availability. Aim for ≥5.

| Asset ID | Asset | Why it matters | Most critical property (C/I/A) |
| --- | --- | --- | --- |
| A-01 | DICOM scan images with patient data | Contains PHI; misuse could harm patients or breach privacy | Confidentiality |

### 1.3 Entry points — how can someone get in?

Network ports, physical connections, web portals, update channels, remote access.

| Entry point | How it works | Authentication? | Encrypted? | Who can reach it? |
| --- | --- | --- | --- | --- |
| Local admin console (:8443) | Web UI on the workstation | Username/password, no MFA | Yes (HTTPS) | Anyone on hospital LAN |

### 1.4 Threat actors — who might attack this?

Go beyond opportunistic hackers — insiders, nation-states, ransomware groups, vendor staff.

| Actor | Motivation | How they might get in |
| --- | --- | --- |
| Ransomware group | Financial — encrypt systems, demand payment | Phishing hospital staff; exploiting internet-facing services |

## Q2: What can go wrong?

Goal: think like an attacker. Write stories from the attacker's perspective, then assess how serious each one is.

### 2.1 Attacker stories

Format: As a [bad actor], I want to [do something bad] via [method or entry point], so that [I achieve my goal].

Example: As a rogue vendor technician, I want to access the system beyond my support role via the shared remote support credential, so that I can exfiltrate patient data or plant a backdoor. Aim for ≥8 stories across different parts of the system.

| Story ID | Bad actor | Attacker story | Part of system affected | Impact type (S/P/A) |
| --- | --- | --- | --- | --- |
| S-01 | Ransomware group | As a ransomware group, I want to encrypt the acquisition workstation via a phishing email, so that the hospital cannot perform scans and must pay a ransom. | Acquisition workstation | A |

Impact type: S = patient safety (physical harm) · P = privacy / PHI (confidentiality) · A = availability (loss of scanning / care disruption). Tag the dominant type — it tells you which harm to score in 2.2. A threat can carry more than one.

### 2.2 Risk assessment

Exploitability: 1 = Low (rare access / high skill) · 2 = Moderate (remote, known weakness) · 3 = High (trivial, public exploit)

Severity of harm (patient safety first — also privacy & availability): 1 = Minor (no patient harm; negligible privacy/operational impact) · 2 = Significant (care delayed/degraded, a privacy/PHI breach, or meaningful downtime) · 3 = Serious (direct patient harm, a large-scale PHI breach, or extended loss of scanning)

Risk = Exploitability × Severity  →  1–2: Low · 3–4: Medium · 6–9: High

Patient safety rule: if a story could directly harm a patient, mark it High regardless of score and add a note. Score a confidentiality-only threat on the severity of its privacy harm — not "no harm".

FDA note: security risk is scored on exploitability (how feasible the attack is), not probability — the FDA does not permit probabilistic scoring for security risk. Exploitability × severity is the FDA's controlled/uncontrolled matrix.

In a real engagement: this 3×3 is a teaching scale. Production threat models usually layer STRIDE (systematic enumeration per component/data flow) and CVSS (standardized exploitability scoring) on top — noting base CVSS doesn't capture patient-safety severity, so it's adapted with a medical-device rubric, not used raw.

| Story ID | Exploitability (1–3) | Rationale | Severity (1–3) | Rationale | Risk score | Patient safety? | Priority |
| --- | --- | --- | --- | --- | --- | --- | --- |

## Q3: What are we going to do about it?

Goal: for each high-priority story, define at least one concrete mitigation. Be specific. Note trade-offs and residual risk.

Types: Preventive (stops it) · Detective (spots it) · Corrective (limits damage) · Compensating (alternative when the ideal fix isn't feasible)

"Add encryption" is not specific enough. "Enable TLS on the DICOM connection between the workstation and the local DICOM server" is.

| Mitigation ID | Addresses story(ies) | Type | What exactly would be done | Residual risk | Regulatory note |
| --- | --- | --- | --- | --- | --- |
| M-01 | S-03, S-05 | Preventive | Replace shared remote support credential with per-engineer certificates; log all sessions | Insider threat reduced, not eliminated | Config change only — no new submission |

## Q4: Did we do a good job?

Goal: step back and review your work critically before presenting.

### Our top 3 threats

1.  S-____:  ______________________________________________________

2.  S-____:  ______________________________________________________

3.  S-____:  ______________________________________________________

### Most surprising finding

_______________________________________________________________

_______________________________________________________________

### Hardest trade-off

_______________________________________________________________

_______________________________________________________________

### What we're still unsure about

_______________________________________________________________

_______________________________________________________________

### Completeness checklist

☐  At least 8 attacker stories, each covering a different part of the system

☐  Every story written in the full format (actor → action → method → goal)

☐  Every story has an exploitability, severity, and risk score

☐  Any story that could harm a patient is marked High priority with rationale

☐  Every High-priority story has at least one mitigation

☐  Every Medium-priority story has a mitigation or a documented acceptance rationale

☐  Every mitigation says specifically what would be done (not just the category)

☐  Residual risk is noted for each mitigation

☐  Assets and entry points carry stable IDs (supports FDA traceability to the SBOM)